SMOKE & CARBON MONOXIDE

ALARM TEST

Date: _________________   Tenant’s Name _____________________________

Address: _____________________________________     Unit No. __________

The smoke and carbon monoxide alarms at the above location:

(please circle)						                         Smoke                     CO

- are securely fastened to the wall or ceiling	 	            Yes   No	     Yes   No

- shows visible signs of damage	 		            Yes   No	     Yes   No

- shows visible signs of paint or build-up of grease/dirt           Yes   No	     Yes   No

- were tested and found to be in proper working order	            Yes   No	     Yes   No

Non-functional alarms must be repaired immediately.  No one is to go

overnight without functional smoke and carbon monoxide alarms.

The Ontario Fire Code states that “no person shall disable a smoke alarm or carbon monoxide alarm”.   A tenant or any other person who disables a smoke alarm and or carbon monoxide alarm (i.e., removing the battery or disconnecting the alarm) is guilty of a provincial offence and may be subject to a fine, imprisonment or both.

I acknowledge that the smoke and carbon monoxide alarms were tested as indicated above and understand that it is my responsibility as the tenant to notify the building owner or his designate should the alarm(s) require maintenance.

AT TIME OF SIGNING, THE ALARMS ARE WORKING AS INTENDED.

_____________________________           _____________________________

Tenant					        Owner

Revised Jan 2015